## Sheet1
Power Setting | Approx Current (mA) | Raw Measurement uW | Corrected mW | Raw w/o aperature mW | mW w/o aperature | aperature % | Raw w/o aperature, bigger dot | mW w/o aperature, bigger | Big dot/small
12 | 15.5294 | [5 empty] | 0.00361 | 0.035017 |  | Note: this was all done with a 10:1 current setting ratio. Iout = 3.3V * 1/10 (A/V) * x / 255 This is both dangerous and inefficient. We're going to change the ratio s.t. ~25mW output power is represented by 255. This would have been on v1.7 of the circuit
15 | 19.4118 | [5 empty] | 0.00467 | 0.045299
19 | 24.5882 | [5 empty] | 0.00682 | 0.066154
20 | 25.8824 | [5 empty] | 0.00768 | 0.074496
25 | 32.3529 |  |  | 0.085 | 0.8245 |  | 0.104 | 1.0088 | 1.2235
30 | 38.8235 | 78.5 | 0.76145 | 0.695 | 6.7415 | 0.11295 | 0.755 | 7.3235 | 1.0863
32 | 41.4118 | 101.6 | 0.98552 | 1.024 | 9.9328 | 0.099219 | 1.031 | 10.0007 | 1.0068
34 | 44 | 125.1 | 1.2135 | 1.285 | 12.4645 | 0.097354 | 1.306 | 12.6682 | 1.0163
36 | 46.5882 | 145.2 | 1.4084 | 1.541 | 14.9477 | 0.094225 | 1.582 | 15.3454 | 1.0266
38 | 49.1765 | 169 | 1.6393 | 1.802 | 17.4794 | 0.093785 | 1.854 | 17.9838 | 1.0289
40 | 51.7647 | 192.4 | 1.8663 | 2.011 | 19.5067 | 0.095674 | 2.131 | 20.6707 | 1.0597
0
0